Lab:  Understanding the Colorimeter

Name ___________________________________________Period______    Table #

Purpose:  To use a colorimeter to study the effect of specific wavelengths of red, green and blue light on various colored solutions.

Procedure:

1)   Set up a TI-Nspire, Lab Cradle and Colorimeter as indicated by your teacher.

2)  Obtain 6 plastic cuvettes with lids.  Fill the cuvettes about 2/3 full with the following liquids and cap with the plastic lids.

Tube 1:  distilled water     Tube 2: red solution           Tube 3: blue solution

Tube 4: green solution     Tube 5:  yellow solution     Tube 6: purple solution

(Note:  All colored solutions (except purple) were made with 1 drop of food coloring per 100 mL of distilled water.   The purple solution was made by mixing 100 mL of blue solution with 100 mL of red solution.)

3)  Follow these steps to test the absorbance of colored light in the colored solutions.

- Put distilled water cuvette in the colorimeter (smooth side facing arrow).  Close the door.

- Press the CAL button until the absorbance on the screen reads 0.

- Replace water cuvette with the red solution cuvette.  Close the door.  Record the absorbance.

- Replace red solution cuvette with the blue solution cuvette.  Close the door.  Record the absorbance.

- Test the remaining colored solutions with the red light (635 nm).

- Switch the wavelength on the colorimeter to 565 nm.

- Repeat steps 1 and 2 to recalibrate the colorimeter to this new wavelength.

- One at a time, put all of the colored solution cuvettes in the colorimeter and record the absorbance values.

- Switch the wavelength one last time to 470 nm.

- Recalibrate with the distilled water cuvette.

- Test all of the colored solutions with this wavelength of light and record the absorbance values.

4)  Dispose of all solutions down the drain and rinse the cuvettes with tap water.  Shake out as much water as possible and allow the cuvettes and lids to air dry.  Do NOT use paper towels on the cuvettes.  This may scratch them and make them unusable.  DO use the tissues provided.

Data/Observations:

| Color of Solution | Absorbance of Red Light (635 nm) | Absorbance of Green Light (565 nm) | Absorbance of Blue Light (470 nm) |
| --- | --- | --- | --- |
| RED |  |  |  |
| BLUE |  |  |  |
| GREEN |  |  |  |
| YELLOW |  |  |  |
| PURPLE |  |  |  |

Summary:

For each colored solution, visually summarize the relative absorbances of each color of light.  Your instructor will provide an example for the first solution.

___________________________________________________________________

RED SOLUTION

___________________________________________________________________

BLUE SOLUTION

___________________________________________________________________

GREEN SOLUTION

___________________________________________________________________

YELLOW SOLUTION

___________________________________________________________________

PURPLE SOLUTION

___________________________________________________________________

If you prepared a blue solution that quickly fades to colorless over the course of a few minutes, would it be better to use BLUE light or RED light to determine the rate of color fading?  Explain your choice.